## Smart Institutions Metric Guide
Group | Analytic Description (Analyze Energy) | Metric (Jupyter Notebook) | Unit | Description
01. ENERGY PRODUCTION | Chilled Water Generated (Flow) | CompoundChilledWaterGeneratedFlow | ton_of_refrigeration | Metric to calculate the generated chilled water flow in ton/hr on Facility or Organization. This metric is used in Analyze Energy
| Chilled Water Generation Efficiency | CompoundChilledWaterGeneratedEfficiency | kw-per-rt | N/A
| Steam Generated (Flow) | CompoundSteamGeneratedFlow | klbs-steam-e_per_hour | Metric to calculate the generated steam flow in klbs steam/hr on Facility or Organization. This metric is used in Analyze Energy
| Steam Generated | CompoundSteamGeneratedTotalizer | klbs-steam | Metric to calculate the generated steam totalizer in klbs steam on Facility or Organization. The metric is used in Analyze Energy
| Steam Generated Pressure | CompoundSteamGeneratedPressure | psig | N/A
| Steam Generated Temperature | CompoundSteamGeneratedTemperature | degrees_fahrenheit | N/A
| Steam Generation Efficiency | CompoundSteamGeneratedEfficiency | percent | N/A
02. ENERGY CONSUMPTION | Chilled Water Consumption | CompoundMeterAssetChilledWaterConsumedTotalizerCleaned | thousand_BTU | Metered chilled water consumption (totalizer) data with outliers removed and ML baseline backfilled data where necessary.
| Electricity Consumption | CompoundMeterAssetElectricityConsumedTotalizerCleaned | kilowatt_hour | Metered electricity consumption (totalizer) data with outliers removed and ML baseline backfilled data where necessary.
| Hot Water Consumption | CompoundMeterAssetHotWaterConsumedTotalizerCleaned | thousand_BTU | Metered hot water consumption (totalizer) data with outliers removed and ML baseline backfilled data where necessary.
| Natural Gas Consumption | CompoundMeterAssetNaturalGasConsumptionCleaned | thousand_BTU | Metered natural gas consumption (totalizer) data with outliers removed and ML baseline backfilled data where necessary.
| Steam Consumption | CompoundMeterAssetSteamConsumedTotalizerCleaned | thousand_BTU | Metered steam consumption (totalizer) data with outliers removed and ML baseline backfilled data where necessary.
| Total Energy Consumption (Cleaned) | TotalMeteredEnergyConsumptionCleaned | million_BTU | Total Metered Energy (Electricity + NaturalGas + Steam + Hot Water + Chilled Water) Consumption
03. ENERGY CONSUMPTION (UNCLEANED) | Chilled Water Consumption (Uncleaned) | MeteredChilledWaterConsumption | million_BTU | Raw uncleaned measurements for comparison to cleaned data.
| Electricity Consumption (Uncleaned) | MeteredElectricityConsumption | million_BTU | Raw uncleaned measurements for comparison to cleaned data.
| Hot Water Consumption (Uncleaned) | MeteredHotWaterConsumption | million_BTU | Raw uncleaned measurements for comparison to cleaned data.
| Natural Gas Consumption (Uncleaned) | MeteredNaturalGasConsumption | million_BTU | Raw uncleaned measurements for comparison to cleaned data.
| Steam Consumed Pressure | CompoundSteamConsumedPressure | psig | Raw uncleaned measurements for comparison to cleaned data.
| Steam Consumed Temperature | CompoundSteamConsumedTemperature | degrees_fahrenheit | Raw uncleaned measurements for comparison to cleaned data.
| Steam Consumption (Uncleaned) | MeteredSteamConsumption | million_BTU | Raw uncleaned measurements for comparison to cleaned data.
| Total Energy Consumption (Uncleaned) | TotalMeteredEnergyConsumption | million_BTU | Total Metered Energy (Electricity + NaturalGas + Steam + Hot Water + Chilled Water) Consumption
04. ENERGY CONSUMPTION FLOW | Chilled Water Flow | CompoundChilledWaterConsumedFlow | kbtu-per-hour | Can be called on either Facility or Organization to get CW consumed flow. Used in the Analyze Energy page
| Electricity Flow | CompositeElectricityDemandResponse | kilowatt | Caculates electricity flow, uses consumed_flow data if available otherwise uses comsumed_totalizer_clean data
| Hot Water Flow | CompoundHotWaterConsumedFlow | kbtu-per-hour | Can be called on either Facility or Organization to get Hot Water consumed flow. Used in the Analyze Energy page
| Imported Electricity Flow (Substation) | CompositeElectricityDemandResponseAggregate | kilowatt | Caculates substation/campus level electricity flow using flow data if available and otherwise totalizer
| Steam Flow | CompoundSteamConsumedFlow | kbtu-per-hour | Can be called on either Facility or Organization to get Steam consumed flow. Used in the Analyze Energy page
05. SUSTAINABILITY | CH4 Emissions | TotalMeteredConsumptionCH4Emissions | tonne | Total metered CH4 Emissions (Natural gas CH4 emissions + Electricity CH4 emissions)
| CO2 Emissions | TotalMeteredConsumptionCO2Emissions | tonne | Total metered CO2 Emissions (Natural gas CO2 emissions + Electricity CO2 emissions)
| Carbon Emission (Billed) | CarbonEmission | mtCO2e | Sum of carbon emissions from natural gas and electricity, and non carbon emissions from natural gas and electricity
| NOx Emissions | TotalMeteredConsumptionN2OEmissions | tonne | Total metered N2O Emissions (Natural gas N2O emissions + Electricity N2O emissions)
| SOx Emissions | TotalMeteredConsumptionSO2Emissions | tonne | Total metered SO2 Emissions (Natural gas SO2 emissions + Electricity SO2 emissions)
| Scope 1 Emissions (CO2e) | MeteredNaturalGasConsumptionCO2eEmissions | tonne | Sum of natural gas CO2 emissions, CH4CO2 emissions and N2OCO2e emissions
| Scope 2 Emissions (CO2e) | MeteredElectricityConsumptionCO2eEmissions | tonne | Sum of electricity CO2 emissions, CH4CO2 emissions and N2OCO2e emissions
| Total CO2e Emissions | TotalMeteredConsumptionCO2eEmissions | tonne | Total metered CO2e Emissions (Natural gas CO2e emissions + Electricity CO2e emissions)
| Total Emissions Intensity (CO2e) | TotalMeteredConsumptionCO2eEmissionIntensity | lb_per_sqft | Total CO2e Emissions / Aggregate Gross Floor Area
06. BILLED (EBS) ENERGY | Combined EUI | CombinedEUICached_AnalyzeEnergy | kbtu-per-sqft | Energy Usage Intensity over time (total energy/sq feet) for both electricity and natural gas driven by billing data
| Electricity Consumption | BilledElectricityUsage | kilowatt_hour | Billed electricity usage (kWh): consumed minus reduced
| Electricity EUI | ElectricityEUI | kbtu-per-sqft | Energy Usage Intensity over time (total energy/sq feet) for Electricity driven by billing data.
| Natural Gas Consumption | BilledNaturalGasUsage | million_BTU | Natural gas usage (CCF): consumed minus reduced
| Natural Gas EUI | NaturalGasEUI | kbtu-per-sqft | Energy Usage Intensity over time (total energy/sq feet) for Natural Gas driven by billing data.
| Natural Gas Volume | BilledNaturalGasVolume | hectocubic_feet | N/A
| Normalized Baseline EUI FY17 | BaselineEUI2017 | kbtu-per-sqft | The Normalized Baseline Energy Usage Intensity over time (total energy/sq ft) as determined by the FY17 baseline year.
| Savings Goal | SavingsGoal | percent | N/A
| Savings Percentage | BilledConsumptionEnergySavingsAsPercentage | percent | N/A
| Total Energy Consumption | energyConsumption | million_BTU | Sum of Billed Electricity Consumption and Billed Natural Gas Consumption
07. METERED ENERGY USAGE INTENSITY | Building EUI | TotalBuildingEUI | kbtu-per-sqft | N/A
| Plant EUI | PlantEUI | kbtu-per-sqft | N/A
08. WEATHER | Ambient Temperature | AmbientTemperature | degrees_fahrenheit | Combined actual temperature history + forecasted temperature
| Atmospheric Pressure | atmosphericPressure | millibar | N/A
| Backup Weather Service Ambient Temperature | AverageDailyTempBackup | degrees_fahrenheit | N/A
| Dew Point | dewPoint | degrees_fahrenheit | N/A
| Electricity CDD | ElectricityCDD | degrees_fahrenheit | Electricity CDD (Cooling Degree Day)
| Electricity HDD | ElectricityHDD | degrees_fahrenheit | Electricity HDD (Heating Degree Day)
| NOAA Average Daily Temperature | AverageDailyTemp | degrees_fahrenheit | N/A
| Natural Gas CDD | NaturalGasCDD | degrees_fahrenheit | Natural Gas CDD (Cooling Degree Day)
| Natural Gas HDD | NaturalGasHDD | degrees_fahrenheit | Natural Gas HDD (Heating Degree Day)
| Relative Humidity | RelativeHumidity | percent | N/A
09. ANOMALOUS BEHAVIOR | Consumption Anomalies | ConsumptionAnomalyThresholdException | N/A | N/A
| Consumption Anomaly Score | ConsumptionAnomalies | N/A | N/A
10. AI ANALYTICS | Normalized Electricity Consumption | WeatherNormalizedElectricityConsumption | kilowatt_hour | N/A
| Normalized Natural Gas Consumption | WeatherNormalizedNaturalGasConsumption | million_BTU | N/A
10. FORECASTED ENERGY PRODUCTION | Forecasted Chilled Water Generated Flow | CompoundChilledWaterGeneratedFlowForecast | ton_of_refrigeration | This metric is a two day ahead forecast available at the hourly level of granularity. Can only be called at the facility level
| Forecasted Steam Production | CompoundSteamProductionForecast | mlbs | This metric is a two day ahead forecast available at the hourly level of granularity. Can only be called at the facility level
11. FORECASTED ENERGY CONSUMPTION | Forecasted Chilled Water Consumption Flowed | CompoundChilledWaterConsumptionFlowedForecast | thousand_BTU | This metric is a seven day ahead forecast available at the hourly level of granularity. Can only be called at the facility level
| Forecasted Electricity Consumption | CompoundElectricityConsumptionForecast | kilowatt_hour | This metric is a seven day ahead forecast available at the hourly level of granularity. Can only be called at the facility level
| Forecasted Hot Water Consumption | CompoundHotWaterConsumptionForecast | thousand_BTU | This metric is a seven day ahead forecast available at the hourly level of granularity. Can only be called at the facility level
| Forecasted Natural Gas Consumption | CompoundNaturalGasConsumptionForecast | million_BTU | This metric is a seven day ahead forecast available at the hourly level of granularity. Can only be called at the facility level
| Forecasted Steam Consumption | CompoundSteamConsumptionForecast | thousand_BTU | This metric is a seven day ahead forecast available at the hourly level of granularity. Can only be called at the facility level
13. MISCELLANEOUS ANALYTICS | Coefficient Of Performance | HeatRecoveryChiller_CoefficientOfPerformance | N/A | N/A
| Occupancy | BuildingOccupancy | devices | Metric that shows the number of connected devices to wifi accesspoints